Sir C R Reddy College of Engineering

Department of Electrical & Electronics Engineering

PSP ASSIGNMENT -1 (IV/IV-EEE C SEC), AY: 2017-18

- What is SCADA, explain its role in Power System Protection.

- What is relay and how they are classified based on power sources used for their operation.

- Classify and explain different Schemes Employed in Protection of Power System.

- What is the effect of power generation from renewable energy sources on power system protection?

- What are the different Kinds of Protection schemes Employed in Protection of GRID?

- Explain, how power system Automation is helping the protection of power system.