EEE 414 – POWER SYSTEM PROTECTION

COURSE OUTCOMES

At the end of the course a student will be able to:

| CO No. | COURSE OUTCOMES |
| --- | --- |
| CO 1 | Explain the concept and functioning of fuses, circuit-breakers, relays, arresters, and other protective devices. |
| CO 2 | Differentiate (or analyse) the relative performance of various fuses, circuit-breakers, relays and arresters. |
| CO 3 | Select and apply protective devices to protect generators, transformers, transmission lines, bus-bars and other power system components. |
| CO 4 | Evaluate (or determine) ratings of fuses, circuit-breakers, relays; test circuit-breakers, design bus-bars, and evaluate schemes of sub-station layouts. |

LESSON PLAN

Total number of periods: 60

Instruction delivery tools: Black board, power point, videos

| Unit | Unit-1 | Unit-2 | Unit-3 | Unit-4 | Unit-5 | Review etc. | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hours | 10 | 12 | 20 | 07 | 04 | 07 | 60 |

| TOPICS | TEXT BOOK | NO. OF PERIODS | COs | POs |
| --- | --- | --- | --- | --- |
| UNIT 1: FUSES (10 periods) |
| Introduction to syllabus, overall review, text books | T1,T3 | 1 | CO1 | -- |
| Fuse definition, principle, requirements, material, and characteristics. | T1,T3 | 1 | CO1 | a |
| Fuse standards, ratings and selection. | T1,T3 | 1 | CO4 |  |
| HRC fuse construction, applications & advantages. | T1,T3 | 1 | CO1 | a |
| fault clearing and circuit breakers | T1,T3 | 1 | CO1 | a |
| transient recovery voltage, single & double frequency transients | T1,T3 | 1 | CO1 | a |
| resistance switching, current chopping, switching of capacitor banks | T1,T3 | 1 | CO1 | a |
| ratings and characteristics of circuit breakers | T1,T3 | 1 | CO4 | c, d |
| RRRV-derivation | T1,T3 | 1 | CO4 | c, d |
| Tutorial on RRRV etc. | T1,T3 | 1 | CO4 | c, d |
| Formation of arc, ionization etc., methods of arc extinction | T1,T3 | 1 | CO1 | a |
| UNIT 2: CIRCUIT BREAKERS (12 periods) |
| circuit-breaker definition and function | T1,T3 | 1 | CO1 | a |
| Classification, principle of operation | T1,T3 | 1 | CO1,CO2 | a ,b, k |
| Oil circuit breakers-bulk & arc control pots | T1,T3 | 1 | CO1 | a |
| MOCB | T1,T3 | 1 | CO1 | a |
| Air circuit breakers- arc interruption, construction & operation | T1,T3 | 1 | CO1 | a |
| Air- blast circuit breakers- arc interruption, construction & operation | T1,T3 | 1 | CO1 | a |
| SF6 circuit breakers-SF6 properties | T1,T3 | 1 | CO1 | a |
| SF6 circuit breakers-arc interruption, construction & operation | T1,T3 | 1 | CO1 | a |
| Vacuum arc physics | T1,T3 | 1 | CO1 | a |
| Vacuum CB construction & operation | T1,T3 | 1 | CO1 | a |
| Testing of CB’s | T1,T3 | 1 | CO4 | c, d |
| UNIT 3: RELAYING (20 periods) |
| Fundamentals-relay principle and function, requirement, primary and backup, zones, electromagnetic, static, and numerical relays | T1,T3 | 1 | CO1 | a |
| Relay terminology, principles, basic attracted armature relays | T1,T3 | 1 | CO1 | a |
| Classification of relays based on principles | T1,T3 | 1 | CO2 | a ,b, k |
| electromagnetic over current relays-characteristics, types | T1,T3 | 1 | CO2 |  |
| electromagnetic over current relays-non directional-characteristic, terminology, construction, oc relay as earth fault relay | T1,T3 | 1 | CO1 | a |
| tutorial/problems on PSM | T1,T3 | 1 | CO4 | c, d |
| electromagnetic over current relays-directional-principle, characteristic, construction | T1,T3 | 1 | CO1 | a |
| application/design of electromagnetic OC relays to Ring Mains & Parallel Feeders | T1,T3 | 1 | CO1 | a |
| electromagnetic distance relays- principle& characteristics | T1,T3 | 1 | CO1,CO2 | a ,b, k |
| electromagnetic distance relay types, torque equation and characteristics-impedance, reactance, and admittance type | T1,T3 | 1 | CO1,CO2 | a ,b, k |
| application/design of electromagnetic distance relays to transmission lines- the three zone application | T1,T3 | 1 | CO3 | a, b, c |
| CTs and PTs review and connections nomenclature | T1,T3 | 1 | CO1 | a |
| electromagnetic differential relays- principle& characteristics | T1,T3 | 1 | CO1,CO2 | a ,b, k |
| Application/design of electromagnetic differential relays for alternator protection, simple problems | T1,T3 | 1 | CO3 | a, b, c |
| Application/design of electromagnetic differential relays for transformer protection, and generator-transformer unit protection. | T1,T3 | 1 | CO3 | a, b, c |
| Application/design of electromagnetic differential relays for bus bar, parallel feeder protection. | T1,T3 | 1 | CO3 | a, b, c |
| Static relay principles, advantages & comparator aspects | T1,T3 | 1 | CO1 | a |
| Classification, static over current relays-time lag | T1,T3 | 1 | CO2 | a ,b, k |
| static differential relays | T1,T3 | 1 | CO1,CO3 | a, b, c |
| UNIT 4: PROTECTION AGAINST OVER VOLTAGES (7 periods) |
| Causes of over voltages | T1,T3 | 1 | CO1 | a |
| Lightning mechanism | T1,T3 | 1 | CO1 | a |
| protection against lightning and traveling waves - ground wire principle | T1,T3 | 1 | CO3 | a, b, c |
| effects of series inductances, shunt capacitance | T1,T3 | 1 | CO1 | a |
| Lightning arresters function, principle, types, ratings; Ferranti surge absorber etc. –principle and working | T1,T3 | 1 | CO1 | a |
| Insulation Co-ordination-principles BIL & other considerations | T1,T3 | 1 | CO1 | a |
| UNIT 5: SUB-STATION LAYOUT & BUS BARS (4 periods) |
| Substation classification & components, requirement | T2 | 1 | CO2 | a ,b, k |
| schemes of layout | T2 | 1 | CO2,CO3, CO4 | a ,b, k |
| Bus bar classification & design | T2 | 1 | CO2,CO4 | a ,b, k c, d |
| University questions / review /content beyond syllabus (7 periods) | -- | 7 | -- |  |